## Slide 1: ELISA Immuno Explorer Kit Protocol III: Antibody Detection
BIO-RAD is a trademark of Bio-Rad Laboratories, Inc. All trademarks used herein are the property of their respective owner.
© 2024 Bio-Rad Laboratories, Inc.
bio-rad.com/explorer

## Slide 2
Slide Deck Overview
Background
Information
Results & Troubleshooting
Student
Lab Protocol
Instructor
Resources
Tips and Notes
Instructor
Prep

## Slide 3: About the ELISA Immuno Explorer Kit
This kit gives you the flexibility to perform one of three different ELISA-based protocols with your students, detecting either antigens or antibodies. This slide deck is for Protocol III: Antibody Detection. Other slide decks on our website are available for the other two protocols, as well as for alternative scenarios.
Type of ELISA | Real-World Application | Positive Control
Protocol I: ELISA for Tracking Disease Outbreaks Step 1: Students exchange simulated bodily fluids Step 2: Antigen detection ELISA protocol to see how far infection spread Step 3: Track disease transmission | Communicable diseases like COVID, HIV, common cold, influenza, STDs, smallpox, | Antigen
Protocol II: Antigen Detection ELISA For detecting specific antigens in a sample | Virus, bacterial, or fungal infections, tumor biomarkers (HER2, p53, PSA), hormones (FSH, testosterone), pregnancy, drug allergens, toxins or pathogens in air, food, or water | Antigen
Protocol III: Antibody Detection ELISA For diagnosing exposure to a pathogen by testing for antibodies in a simulated blood sample. | HIV, Lyme disease, West Nile virus, COVID | Antibody

## Slide 4: Bio-Rad ELISA Immuno Explorer Kit
1662400EDU
48 students (12 lab groups)
3 different scenarios: track a disease outbreak; detect antigens (virus, pregnancy hormone, drug, or disease detection); or detect antibodies (past exposure to virus or other disease)
Includes antigen, antibodies, HRP enzyme substrate, 10x PBS, 10% Tween, disposable plastic transfer pipets, tubes, microplates,& curriculum.

## Slide 5: Notes to instructor:
This is your copy of this slide deck. Modify it however you’d like.
The font used is Arial Nova Light – you can download it free from Microsoft.
This slide deck does not include any specific disease/pathogen scenario – tailor it however you see fit. Download the ELISA Scenarios slide deck for some examples.
Background slides have green lines at the top, and student protocol or activity slides have orange lines. Rearrange the slides to suit your course.
View the slides in presentation mode – some have animations that will not appear in the “normal” view (edit mode).
You can click on the thumbnails on the summary section slide (next) to jump to each section – you’ll need to be in presentation mode.
The notes section has links and information copied from the Bio-Rad Biotechnology textbook and/or Bio-Rad kit manuals.
Images created with BioRender.com
Please contact us at explorer@bio-rad.com with any questions, suggestions, or comments. Enjoy!

## Slide 7: Introduction to ELISA, Antigens, & Antibodies

## Slide 8: Immunoassays
Notes: ELISA stands for Enzyme-linked Immunosorbent assay. It is a type of immunoassay.
Immunoassays allow us to detect antibodies, pathogens, allergies, hormones, drug metabolites, and more by using the interactions between antibodies and the target proteins or other antigens.

## Slide 9: ELISA – commonly used for…
Disease Diagnosis
Hormone Detection
Drug Detection
Cancer Biomarker Detection
Allergen Detection
Research
GMO Detection
Notes: Let’s look at some of the most common uses of ELISA:
ELISA is often used to diagnose infectious diseases caused by viruses or bacteria – influenza, SARS-CoV-2, West Nile virus, and the bacteria that causes Lyme disease are just a few examples.
ELISA can be used to measure the levels of hormones in biological samples. For example, we can monitor cortisol levels to study adrenal function and stress response, look at HCG to confirm pregnancy, or quantify testosterone to assess male reproductive health.
ELISA is used to monitor drug levels in the blood. Doctors may use an ELISA to ensure that the drug remains at a therapeutic level—effective but not toxic. ELISA can also detect drug abuse by measuring the levels of drugs, or their metabolites, in urine.
ELISAs are used to monitor crops to detect genetically modified proteins.
ELISA plays a vital role in identifying and quantifying cancer biomarkers (like proteins or antibodies), which are molecules associated with cancer. This has applications in cancer diagnosis, prognosis, and monitoring treatment responses. allowing researchers and healthcare professionals to diagnose and monitor cancer more effectively.
ELISA is used in the food industry to check for allergens and contaminants by detecting specific proteins. This is crucial for people with food allergies. ELISA can also test for specific IgE antibodies and help diagnose allergies to foods, pollen, animal dander, etc.
ELISA is commonly used in research labs to measure proteins, find specific antibodies, and study how molecules interact – for example, the technique is widely used in vaccine research and development to quantify the amount of antigens in vaccines and to measure the antibody response to a vaccine.

## Slide 10: Antigens and epitopes – up close
Notes: Antigens are molecules that elicit immune responses and the production of antibodies.
Antigens can be proteins, glycoproteins, glycolipids, polysaccharides, or nucleic acids. An antigen may be a substance from the environment, such as chemicals, bacteria, viruses, or pollen, or they may also form inside the body, as in the case of cancer.
Antibodies recognize and bind to a specific part of an antigen – called an epitope. You can think of epitopes as the bullseye on antigens.

## Slide 11: Antibody structure
Notes: Antibodies are the proteins that help us fight off pathogens like bacteria and viruses.
Antibodies are Y-shaped, and each arm of the "Y" is made up of a chain of amino acids, which are the building blocks for proteins.
Variable regions are at the tips of the "Y” - these regions are like the specific tip of a key that fits into a lock.
Constant regions are at the bottom part of the "Y“. These regions stay the same – like the handle of a key - and help the antibody do its job.

## Slide 12: Antigens and antibodies
Notes: Antigens:
  Antigens are like tiny flags on the surface of harmful things—bacteria, viruses, toxins, or even pollen.
  You can imagine antigens as “wanted posters” that your immune system uses to identify troublemakers.
  When your immune system spots these flags, it knows something doesn’t belong and gears up for action!
Antibodies:
  You can think of antibodies as the “superheroes” that your body makes to fight off invaders.
  Antibodies are special proteins created by your immune system that recognize and attach to specific antigens, marking them for destruction.

## Slide 13: Antibodies can bind to antigens – or other antibodies!
Primary
Antibody
Antigen
Secondary
antibodies
Primary
antibody
Antigen
Notes: A **primary antibody** is an antibody that directly binds to a specific target antigen.
A **secondary antibody** is an antibody that binds to the primary antibody. Secondary antibodies are NOT specific to the target antigen, but instead recognize and bind to the primary antibody through the constant region of the primary antibody.

## Slide 14: We can use labeled antibodies detect our target
Enzyme:
horseradish
peroxidase (HRP)
Substrate:
tetramethylbenzidine
(TMB)
Notes: ELISAs are based on the interaction between antibodies and antigens. But we can’t see antibodies with the naked eye – we need some way to visualize them to tell us if our protein of interest is in our sample. To do that, we use antibodies that are conjugated to enzymes. Those enzymes then react with a substrate that produces a color change.
In this lab, the antibody is conjugated biochemically to the enzyme horseradish peroxidase. When HRP catalyzes the reaction with the substrate tetramethylbenzidine (TMB), a blue-colored product is generated.
Sometimes an acidic solution is added at the end, which stops the reaction and turns the blue solution yellow.

## Slide 15: ELISA – what does it mean?
Enzyme-Linked
Immuno-
Sorbent
Assay
Antibody (Immuno)
linked to an Enzyme
Antigens are adSorbed
to the plastic wells
Antigens
(Immuno)
Substrate
changes
color
(Assay)
enzyme
Notes: ELISAs stands for Enzyme-Linked Immunosorbent Assay. Let’s break that down.
ELISAs uses antibodies linked to an enzyme
*to detect antigens (or as we’ll see later - other antibodies) = IMMUNO
*The antigens are stuck, or ADSORBED, on plastic wells.
*When a substrate is added there is a color change that allows us to ASSAY for the presence or absence of our target protein.

## Slide 16: Antibodies can bind to antigens – or other antibodies!
Primary
Antibody
Antigen
Secondary
antibodies
Primary
antibody
Antigen
Notes: A **primary antibody** is an antibody that directly binds to a specific target antigen.
A **secondary antibody** is an antibody that binds to the primary antibody. Secondary antibodies are NOT specific to the target antigen, but instead recognize and bind to the primary antibody through the constant region of the primary antibody.

## Slide 17: We can use labeled antibodies detect our target
Enzyme:
horseradish
peroxidase (HRP)
Substrate:
tetramethylbenzidine
(TMB)
Notes: ELISAs are based on the interaction between antibodies and antigens. But we can’t see antibodies with the naked eye – we need some way to visualize them to tell us if our protein of interest is in our sample. To do that, we use antibodies that are conjugated to enzymes. Those enzymes then react with a substrate that produces a color change.
In this lab, the antibody is conjugated biochemically to the enzyme horseradish peroxidase. When HRP catalyzes the reaction with the substrate tetramethylbenzidine (TMB), a blue-colored product is generated.
Sometimes an acidic solution is added at the end, which stops the reaction and turns the blue solution yellow.

## Slide 18: ELISA – what does it mean?
Enzyme-Linked
Immuno-
Sorbent
Assay
Antibody (Immuno)
linked to an Enzyme
Antigens are adSorbed
to the plastic wells
Antigens
(Immuno)
Substrate
changes
color
(Assay)
enzyme
Notes: ELISAs stands for Enzyme-Linked Immunosorbent Assay. Let’s break that down.
ELISAs uses antibodies linked to an enzyme
*to detect antigens (or as we’ll see later - other antibodies) = IMMUNO
*The antigens are stuck, or ADSORBED, on plastic wells.
*When a substrate is added there is a color change that allows us to ASSAY for the presence or absence of our target protein.

## Slide 19: How do we make secondary antibodies?
Antigen “X”
Rabbit anti-X antibody (primary)
Goat anti-rabbit antibody (secondary)
Notes: *Secondary antibodies are made by injecting antibodies made in one species into another species. In our example, the primary rabbit anti-X antibodies are injected into a goat.
*After the goat mounts an immune response, the goat serum contains antibodies that recognize and bind to rabbit antibodies..
*Those antibodies are called goat anti-rabbit antibodies, and can be used to detect any antibodies generated in mice.
For this kit, goats were immunized with rabbit IgG to make the secondary antibodies.

## Slide 20: What if we want to detect a different antigen?
Antigen “X”
Rabbit anti-X antibody
Goat anti-rabbit antibody
Antigen “Y”
Rabbit anti-Y antibody
Notes: Let’s think about what would happen if we wanted to detect a DIFFERENT antigen – antigen “Y” in this case.
*We’d immunize our rabbit with antigen Y, and that rabbit would start making anti-Y antibodies.
*Now here’s the power of secondary antibodies. We don’t need to immunize a goat with these new rabbit anti-Y antibodies. We already HAVE goat-anti-rabbit antibodies that will recognize ANY rabbit antibodies.

## Slide 21: Polyclonal & monoclonal antibodies
 | Polyclonal | Monoclonal
Antibodies | Mixed population of antibodies | Single type of antibody
Epitope recognition | Multiple epitopes | Single epitope
Source | Multiple B-cell lineages | Single B-cell lineage
Production method | Immunization of animals | Hybridoma technology
Production time | Shorter | Longer
Cost | Lower | Higher
Specificity | Lower | Higher
Advantages | Broad reactivity; cost-effective | High specificity; consistent
Notes: This slide is hidden as it’s somewhat outside the scope of the lab, but just in case your students are interested or have questions…
The antibodies in this kit are polyclonal, but both monoclonal and polyclonal antibodies are widely used in ELISAs for both primary and secondary antibodies, depending on the application. The previous slides outline the process for producing polyclonal antibodies. Monoclonal antibodies are produced by immunizing an animal, and then fusing B-cells to myeloma cells (cancer cells that divide indefinitely) to create a hybridoma. Those are then cloned and purified, ensuring that only one type of antibody is produced.

## Slide 22: ELISA Variants & Uses

## Slide 23: Different types of ELISA
Direct
Indirect
Sandwich
Competitive
Notes: Let’s look at the different types of ELISAs.
*Each type has unique advantages depending on what we're trying to detect and how sensitive we need our assay to be. First up, we have the direct ELISA. This method directly detects antigens using labeled antibodies. It's like shining a spotlight on specific proteins in a sample, giving us a clear signal.
*Next, we have the indirect ELISA. Here, we detect antibodies indirectly by using a secondary antibody labeled with a reporter enzyme, giving us a way to amplify our signal – more on that later.
*Moving on to the sandwich ELISA. This technique is like making a sandwich with our antigen as the filling. We capture the antigen between two antibodies, one coated on the plate and the other labeled with a reporter enzyme. It's a precise method, perfect for quantifying substances like cytokines or hormones.
*Last but not least, we have the competitive ELISA. In this setup, labeled and unlabeled ANTIGENS compete for binding sites on antibodies. This is particularly useful for detecting small molecules such as hormones or drugs (more a color change means you have LESS of the target antigen because the labeled antigen is outcompeting the unlabeled target antigen).
In this lab, we will be using an indirect ELISA, but to understand it better, let's look at a direct ELISA in more detail first.

## Slide 24: ELISA for antigen detection
Sample:
blood, plasma, saliva, urine, cerebrospinal fluid, etc.
96-well plate
Is an antigen present?
For example: a virus, bacterium, specific protein or hormone.
  Add sample.
  Add primary antibodies that detect a specific antigen / protein / hormone (ex: rabbit anti-HIV antibodies).
  Add enzyme-linked secondary antibodies that bind to the primary antibody (ex: goat-anti-rabbit antibody).
  Add substrate and look for color change.
Notes: ELISAs can detect either antigens OR the antibodies our body makes against those pathogens. Let’s take a look at antigen detection ELISAs first.
A patient sample is added to a plastic well, and then purified antibodies are added that bind to the target antigen.
Enzyme-linked secondary antibodies bind to the primary antibody, and then the substrate causes a color change.
This technique can be used to diagnose infections like HIV, hepatitis B, malaria, and autoimmune disorders like lupus or arthritis, when the body’s immune system reacts to it’s own proteins as if they were foreign antigens. It can also be used to detect cancer biomarkers – proteins that cancer cells produce.

## Slide 25: ELISA for antibody detection
Sample:
blood or plasma
96-well plate
Does the sample have antibodies to a particular pathogen?
  Add purified antigen.
  Add patient sample to detect serum antibodies against that specific antigen.
  Add enzyme-linked secondary antibodies that bind to the antibodies in the patient sample.
  Add substrate and look for color change.
Notes: ELISAs can be used to detect the presence of antibodies against a specific antigen in a patient’s blood. B cells produce and release antibodies into the bloodstream in response to exposure to a disease antigen. For example, a commonly used screening test for HIV infection looks for anti-HIV antibodies in serum. Some serum antibodies are detectable as soon as two weeks after HIV infection.
In antibody detection assays, antigens are first bound to the plate. Serum from the patient is added to the well and if antibodies to the antigen are present, they bind to the antigen on the plate. After washing, enzyme-linked secondary antibodies that bind human antibodies are added to the wells. Unbound secondary antibodies are washed away, and a chromogenic substrate is added to the wells. In wells with bound serum antibodies, the enzyme will be present and the solution will change color.
Numerous commercially available antibody detection ELISA kits are available for use in both human and veterinary medicine. Not all detect antibodies to disease agents such as HIV. An example is Bio-Rad’s ANA screening test assays for the presence of antinuclear antibodies (see Figure 8.17). Antinuclear antibodies are antibodies that bind material from cell nuclei, and their presence indicates the person may have an autoimmune disease such as systemic lupus erythematosus (lupus or SLE) or scleroderma.

## Slide 26: Qualitative vs. quantitative ELISA
Qualitative: Yes / No
Quantitative: How much?
Standard
Test

## Slide 27: How is ELISA used in the real world?
Healthcare
Detection of Antibodies: antibodies produced by the immune system in response to infection, vaccination, or exposure to a specific pathogen. Examples: HIV, hepatitis B, hepatitis C, Lyme disease, autoimmune disorders (such as systemic lupus erythematosus and rheumatoid arthritis), allergic reactions (to food allergens, pollen, or animal dander), influenza, dengue fever, Zika virus, RSV, and COVID-19
Detection of Antigens: antigens like viral proteins, bacterial components, or other disease markers. Examples: HIV, hepatitis B, hepatitis C, influenza, Lyme disease, streptococcal infections, Helicobacter pylori infection, malaria, schistosomiasis, dengue fever, Zika virus, RSV, and toxoplasmosis.
Detection of Cancer Biomarkers: specific proteins (antigens) or antibodies associated with certain types of cancer, aiding in early diagnosis, prognosis, and monitoring of treatment effectiveness.
Animal Science
Veterinary Diagnostics: to detect antibodies or antigens specific to pathogens such as viruses, bacteria, fungi, and parasites. (canine parvovirus, feline leukemia virus, bovine respiratory syncytial virus, and equine infectious anemia, etc.)
Monitoring Animal Health and Immunity: by measuring antibody levels or other immune markers in blood or tissue samples, to assess immune function, track disease prevalence, or evaluate the impact of environmental factors on animal health. Important in research studies, livestock production, and wildlife conservation efforts.

## Slide 28: How is ELISA used in the real world?
Biomanufacturing
Monitoring Bioprocesses: in biotechnology and pharmaceutical industries, to monitor the production of proteins, antibodies, or other biologics during manufacturing processes.
Food Safety
Quality Control in Food and Beverage Industry: to verify the presence or absence of specific ingredients or contaminants in food and beverage products to prevent contamination and comply with regulatory standards (hormones, pesticides, gluten, artificial substances, peanut allergens, vitamins, etc.).
Detection of Toxins in Food: produced by molds or bacteria in food products, such as aflatoxin in nuts or mycotoxins in grains.
Forensics
Detection of Illegal Substances: in forensic analysis and drug testing to identify illicit drugs, performance-enhancing substances, or toxins in body fluids or tissue samples.
Environmental Monitoring
Monitoring of Environmental Antibiotic Resistance: detect antibiotic resistance markers in environmental samples, tracking the spread of antibiotic-resistance genes.

## Slide 29: Details of ELISA Protocol

## Slide 30: ELISAs are usually performed in triplicate
Polystyrene 96-well plate
Notes: Now let’s get into the nitty gritty of what happens in an ELISA. Typically, ELISA tests are done in triplicate in one 96 well plate. Each plate is made up of 8 12-well strips. You put a positive control in 3 wells, a negative control in the next 3 wells, and the patient samples in the other wells. We’re going to look at what happens in one of these wells (in this case, a patient sample that is positive for the target antigen).

## Slide 31: Direct ELISA
Coating: Add the patient sample to wells. Antigens bind nonspecifically to plastic wells.
Blocking: Add wash buffer to wash out unbound antigens and block uncoated surfaces of the wells.
Detection: Add enzyme-linked primary antibody. The variable regions of the antibody will bind to a specific antigen. Add wash buffer to wash out any unbound antibody.
Signal measurement: Add the substrate. When it binds with the enzyme-linked antibody, there is a color change, enabling detection.
Notes: We can use a direct ELISA to directly detect a specific antigen (let’s say a viral protein from influenza) –this technique can also be used to detect other proteins or hormones.
Coating: The patient sample is added to the wells, and antigens bind nonspecifically to the plastic wells.
Blocking: Add wash buffer to wash out any unbound antigens, and to block the uncoated surfaces of the wells so antibodies don’t bind non-specifically in the next step.
Detection: Enzyme-linked primary antibody is added. The variable regions of the antibody (the tips of the Y) will bind to a specific antigen. After this step, another wash is done to wash out any unbound antibody.
Signal Measurement: Add the substrate. When it binds with the enzyme-linked antibody, there is a color change.

## Slide 32: Indirect ELISA
Coating: Add the patient sample to wells. Antigens bind nonspecifically to plastic wells.
Blocking: Add wash buffer to wash out unbound antigens and block uncoated surfaces of the wells.
Detection:
  Add primary antibody. The variable regions of the primary antibody will bind to a specific antigen. Add wash buffer to wash out any unbound primary antibody.
  Add the enzyme-linked secondary antibody. The secondary antibody will bind to the constant region of the primary antibody. Add wash buffer to wash out any unbound secondary antibody.
Signal measurement: Add the substrate. When it binds with the enzyme-linked secondary antibody, there is a color change, enabling detection.
Notes: Indirect ELISAs are more commonly used, and the type we’ll be using in this lab. Most of the steps are the same, but with the addition of an enzyme-conjugated secondary antibody that binds to the primary antibody.
Coating: The patient sample is added to the wells, and antigens bind nonspecifically to the plastic wells.
Blocking: Add wash buffer to wash out any unbound antigens, and to block the uncoated surfaces of the wells so antibodies don’t bind non-specifically in the next step.
Detection: Enzyme-linked primary antibody is added. This primary antibody is specific to the target antigen. If our target antigen is present, then the primary antibody will bind. We’ll wash out any unbound primary antibody with wash buffer. Next we to add the enzyme-linked secondary antibody. This antibody doesn’t bind to the antigen directly – it binds to the constant region of the primary antibody. The unbound secondary antibody is washed out with wash buffer.
Signal Measurement: Add the substrate. When it binds with the enzyme-linked antibody, there is a color change.

## Slide 33: How do proteins adsorb to the plastic wells?
R
R
H
H
Polystyrene (plate)
Protein (Antigen)
Hydrophobic interactions
Notes: How or why do the antigens adhere, or adsorb, to the wells? When the patient sample is added, the proteins in the solution will nonspecifically adsorb to the surface of the well. This happens due to the hydrophobic interactions between the proteins and polystyrene surface of the well.

## Slide 34: Why add wash buffer?
Wash out antigens or antibodies that did not bind to the wells
Block the exposed surface of the wells so that antibodies don’t bind non-specifically in the next step
Notes: Why do we add wash buffer between each step?
*2 reasons: First, we want to make sure that any unbound antigens are rinsed out of the well.
*And we also want to block the rest of the well so that the antibodies don’t bind non-specifically in the next step.
In this lab, we’re using PBS (phosphate buffered saline) with some Tween-20 detergent as our wash buffer. Oftentimes bovine serum albumin (BSA) is used as a blocking agent.

## Slide 35: Why do we use secondary antibodies?
Direct ELISA
1 antigen : 1 antibody
Signal amplification!
Indirect ELISA
1 antigen : many antibodies
Notes: 2nd reason:
In a direct ELISA, you have 1 antibody to 1 antigen. This may not make enough of a color change to detect.
Secondary antibodies amplify the signal from primary antibodies. Many secondary antibodies can bind to a single primary antibody since they recognize different epitopes. This amplifies the signal so we can detect our target, and means that less primary antibody is needed when a secondary antibody is used, reducing costs considerably.

## Slide 36: Why do we use secondary antibodies?
Can use the SAME
goat anti-rabbit secondary antibody to detect multiple rabbit antibodies
2) Cost!
Notes: Why use secondary antibodies – can’t we just do a direct ELISA?
1st reason: Different primary rabbit antibodies (rabbit anti-X and rabbit anti-Y for example) can BOTH be recognized by the same goat-anti-rabbit antibody. Secondary antibodies can be labeled using the strategies described above and are used to detect the primary antibodies in an immunoassay.

## Slide 37: ELISA Paper Model
Overview

## Slide 38: ELISA paper model
primary antibodies
secondary antibodies
antigens
substrate
Print out the paper model shapes on the LAST slide in this presentation. Click on the last slide, then go to File > Print, and change Print All Slides to Print Current Slide. Under Settings, turn OFF Scale to Fit Paper. Make one copy for each lab group.
Laminate if you want to reuse the pieces. Cut out each shape. Store each set in a zip-top baggie.
Have students use a blank piece of paper as a “well” to construct their model in.
Tip: label each piece on the back and add the volume used in the procedure. After students build their ELISA model, they can then flip over the pieces and follow the protocol.

## Slide 39: ELISA paper model – pattern matching
The pattern on the variable regions of the primary antibodies match specific patterns on the antigens.
The pattern and shape of the secondary antibodies matches the pattern and shape on the constant region of the primary antibody.
These patterns and shapes represent both the specificity and the location of antigen-antibody, and antibody-antibody binding.
primary antibodies
secondary antibodies
antigens

## Slide 40: Modeling an indirect antigen detection ELISA
Coating: Add the patient sample to wells. Antigens bind nonspecifically to plastic wells.
Blocking: Add wash buffer to wash out unbound antigens and block uncoated surfaces of the wells.
Detection:
  Add primary antibody. The variable regions of the primary antibody will bind to a specific antigen. Add wash buffer to wash out any unbound primary antibody.
  Add the enzyme-linked secondary antibody. The secondary antibody will bind to the constant region of the primary antibody. Add wash buffer to wash out any unbound secondary antibody.
Signal measurement: Add the substrate. When it binds with the enzyme-linked secondary antibody, there is a color change, enabling detection.

## Slide 41: Modeling an antibody detection ELISA
Coating: Add purified antigen to wells. Antigens bind nonspecifically to plastic wells.
Blocking: Add wash buffer to wash out unbound antigens and block uncoated surfaces of the wells.
Detection:
  Add serum samples (which may or may not contain antibody). The variable regions of the antibody will bind to a specific antigen. Add wash buffer to wash out any unbound antibody.
  Add the enzyme-linked secondary antibody. The secondary antibody will bind to the constant region of the primary antibody. Add wash buffer to wash out any unbound secondary antibody.
Signal measurement: Add the substrate. When it binds with the enzyme-linked secondary antibody, there is a color change, enabling detection.

## Slide 42: ELISA Lab: Antibody Detection
Student Protocol

## Slide 43: Notes to instructor:
The suggested incubation time in the manual is 5 minutes for each step. This can be shortened to 2 minutes if needed.
It works well to let the students add their reagents to the wells, and then go through the concepts on the slide during the wait time (for example, add the slide about how proteins adsorb to the wells after they add the samples to the wells).
If students are using their paper models along with the protocol, they can use a dry erase marker to write the volumes and timing on the back of each piece (50 μl / 5 min for antigen, primary antibody, secondary antibody, and substrate).
The lab is set up so students are working in groups of 4, with two 12-well microplates and one set of tubes per group. They’ll load 2 patient samples in triplicate in each 12-well microplate.
A disposable pipet can be used instead of adjustable micropipets to add antigen, primary antibody, secondary antibody, and substrate. Instead of adding 50 μl, they would just add one drop from the disposable pipet. You may need to supplement the pipets that come in the kit, since the protocol is written for using adjustable micropipets and tips.

## Slide 44: Transfer pipet measurements
1 ml
750 μl
500 μl
250 μl
100 μl
~50 μl

## Slide 45: Set up lab stations
 | Item | Contents | Qty
 | Yellow tubes (unlabeled) | Test samples | 4
 | Purple tube (+) | 0.5 ml 1x PA | 1
 | Blue tube (-) | 0.5 ml 1x Wash Buffer | 1
 | Green (AG) | 1.5 m 1x Ag | 1
 | Orange (SA) | 1.5 ml 1X SA | 1
 | Brown (SUB) | 1.5 ml Substrate | 1
 | Wash buffer in beaker or cup | ~50 ml Wash buffer | 1
 | Disposable plastic transfer pipet |  | 5
 | 12-well microplate strip |  | 2
 | p200 micropipet or 50 μl fixed-volume pipet and tips |  | 1
 | Paper towels or napkins |  | 20+
 | Permanent marker |  | 1
 | Waste cup |  | 1

## Slide 46: Label tubes and 12-well microplate strip
Use a permanent marker to label your 2 yellow tubes with your initials or a random number.
1.
Write the numbers or initials from your 2 yellow tubes on the last 6 wells
Label the wells as shown below. Two students will share each 12-well strip.
2.

## Slide 47: Add purified antigen (AG)
Use a new tip or disposable pipet to add 50 μl or 1 drop of the purified antigen (AG) to every well.
3.
Incubate 2-5 minutes.
4.
2-5 minutes
AG

## Slide 48: Wash 2 times
Tap liquid out onto a paper towel. Using a new disposable pipet, fill each well with wash buffer. Do not touch the wells with the pipet, and do not fill the wells too much so that they overflow into the next well. If your pipet touches a well, change pipets. Get a new paper towel and tap liquid out.
5.
Repeat wash step and tap liquid out onto a new paper towel.
6.

## Slide 49: Add controls and patient samples
Using a new tip each time, add 50 μl of the positive control (+), negative control (-), patient serum sample 1 (1), and patient serum sample 2 (2) into their respective wells (x3). (If you are using a disposable pipet, add 1 drop instead of 50 μl.)
7.
Incubate 2-5 minutes.
8.
+
-
1
2
2-5 minutes
2-5 minutes
50 μl
50 μl
50 μl
50 μl

## Slide 50: Wash 2 times
Tap liquid out onto a paper towel. Using a new disposable pipet, fill each well with wash buffer. Get a new paper towel and tap liquid out.
9.
Repeat wash step and tap liquid out onto a new paper towel.
10.

## Slide 51: Add secondary antibody (SA)
Use a new tip or disposable pipet to add 50 μl or 1 drop of the secondary antibody (SA) to every well.
11.
Incubate 2-5 minutes.
12.
2-5 minutes
SA

## Slide 52: Wash 3 times
Tap liquid out onto a paper towel. Using a new disposable pipet, fill each well with wash buffer. Get a new paper towel and tap liquid out.
13.
Repeat wash step and tap liquid out onto a new paper towel. Repeat wash 1 more time (3 washes total).
14.

## Slide 53: Add substrate (SUB)
Use a new tip or disposable pipet to add 50 μl or 1 drop of the substrate(SUB) to every well.
15.
2-5 minutes
Incubate 2-5 minutes and watch for a color change.
16.
SUB

## Slide 54: Results & Analysis

## Slide 55: Example Results
Patient 1: has antibodies present
Patient 2: no antibodies detected

## Slide 56: Troubleshooting
Several possibilities: contaminated wash buffer, didn’t change pipets in the 1st step, added + control all the way across in step 1
Likely overflow / spillover from positive control into negative control for the faint blue negative wells.
If only one group: likely missed a step or did something out of order with PA, SA and SUB. If entire class: likely diluted PA with wash instead of 1X PBS during prep.

## Slide 57: Instructor Prep
Protocol III:
Antibody Detection

## Slide 58: Notes to instructor:
Please download the instructor manual (see Resources section) for full prep directions. This slide deck is meant as a quick reference – there are more details in the manual which are not included here.
These prep instructions are for Protocol III: Antibody Detection. The prep directions for each protocol are different.
Reserve some of the wash buffer so you can replace it if (when!) students contaminate theirs. Let them know that if they contaminate their wash buffer you can give them more – they just need to let you know! If they do contaminate their wash buffer (for example, by touching a pipet to their 12-well strip and then putting it back in the wash buffer), their results will likely be all positive.
Although this procedure is designed to fit into a single lesson period, you may stop the laboratory activity by adding wash buffer to the microplate wells at any stage after the addition of antigen and prior to the addition of enzyme substrate. Place the microplate strips and all the reagents in the refrigerator at 4°C overnight.

## Slide 59: Gather kit materials
 | Item | Qty | Source
 | Antigen | 1 vial | kit
 | Primary antibody | 1 vial | kit
 | Secondary antibody | 1 vial | kit
 | Substrate (TMB) | 1 bottle | kit
 | 10x PBS | 1 bottle | kit
 | 10% Tween 20 | 1 bottle | kit
 | Disposable plastic transfer pipets | 80 | kit
 | Multi-colored plastic fliptop tubes | 1 bag | kit
 | 12-well microstrip plate | 1 bag | kit

## Slide 60: Gather other supplies
 | Item | Qty | Source
 | Distilled water | 1 L | 
 | Graduated cylinder – 100 ml | 1 | 
 | Graduated cylinder – 500 ml or 1 L | 1 | 
 | p200 micropipet & tips | 1 | 
 | Bottle or flask – 100 ml | 1 | 
 | Bottle or flask – 1 L | 1 | 
 | Bottle or conical tube – 50 ml | 3 | 
 | Paper towels or napkins | 10-20 per group | 
 | Permanent marker | 1 per group | 
 | Trash container | 1 | 

## Slide 61: Transfer pipet measurements
750 μl
500 μl
250 μl
100 μl
1 ml

## Slide 62: Make 1x PBS
In a 100 ml bottle or flask, combine:
90 ml distilled water and
10 ml 10x PBS
Label 1x PBS
1.
10 ml
90 ml
Distilled water

## Slide 63: Make Wash Buffer
In a 1 L bottle, combine:
805 ml distilled water,
90 ml 10x PBS, and
4.5 ml 10% Tween 20
Label Wash Buffer
2.
distilled water
90 ml
805 ml
4.5 ml
Note: do NOT use Wash Buffer to dilute antigen!

## Slide 64: Rehydrate antigen and antibodies
Remove the stoppers from the antigen, primary antibody, and secondary antigen vials.
3.
Use a disposable pipet to add 0.5 ml of 1x PBS to each vial. Try not to touch the pipet to the vial – if you do, use a new pipets for each vial.
Close the stoppers and shake to mix. These solutions are 50x concentrated stock solutions.
Note: do NOT use wash buffer in this step.
4.
0.5 ml

## Slide 65: Dilute antigen
In a 50 ml bottle or conical tube, add:
24.5 ml 1x PBS and
0.5 ml 50x antigen
5.
Close the bottle or conical tube cap and shake to mix.
Label 1x Ag (for 1x Antigen).
6.
Note: do NOT use Wash Buffer in this step!
24.5 ml
0.5 ml
1x Ag

## Slide 66: Dilute primary antibody
In a 50 ml bottle or conical tube, add:
24.5 ml wash buffer and
0.5 ml 50x primary antibody
7.
Use a disposable pipet to rinse out the vial using some of the diluted reagent.
Close the bottle or conical tube cap and shake to mix.
Label 1x PA.
8.
24.5 ml
0.5 ml
1 X PA

## Slide 67: Dilute secondary antibody
In a 50 ml bottle or conical tube, add:
24.5 ml wash buffer and
0.5 ml 50x secondary antibody
9.
Use a disposable pipet to rinse out the vial using some of the diluted reagent.
Close the bottle or conical tube cap and shake to mix.
Label 1x SA.
10.
24.5 ml
0.5 ml
NOTE: In the textbook, secondary antibody is labeled “ELA” (enzyme-linked antibody)
Notes: NOTE: In the textbook, secondary antibody is labeled “ELA” (enzyme-linked antibody)

## Slide 68: Dispense reagents for lab stations
 | Item | Contents | Tube | Label | Qty
 | Positive control | 0.5 ml 1x PA | Purple | + | 12
 | Negative control | 0.5 ml Wash buffer | Blue | - | 12
 | Primary antibody | 1.5 m 1x Ag | Green | AG | 12
 | Secondary antibody | 1.5 ml 1x SA | Orange | SA | 12
 | Substrate | 1.5 ml Substrate | Brown | SUB | 12
 | Positive student test sample* | 0.25 ml 1X PA | Yellow |  | 50% of tubes
 | Negative student test samples* | 0.25 ml 1x PBS | Yellow |  | 50% of tubes
*We recommend designing the lab so that 50% of your students will test positive and 50% will test negative, but the final ratio is up to you. Make one test sample for each student and mix up the tubes before distributing.

## Slide 69: Dispense reagents for lab stations
+
-
SUB
AG
SA
0.5 ml
0.5 ml
1.5 ml
1.5 ml
1.5 ml
0.25 ml
.25 ml
x 12
x 12
x 12
x 12
x 12
50% of tubes
50% of tubes
Each student will receive 1 yellow tube. Make 50% of the tubes positive (1X PA) and 50% negative (ash buffer).

## Slide 70: Set up lab stations
 | Item | Contents | Qty
 | Yellow tubes (unlabeled) | Student test samples | 4
 | Purple tube (+) | 0.5 ml 1X PA | 1
 | Blue tube (-) | 0.5 ml 1X Wash Buffer | 1
 | Green (AG) | 1.5 m 1X Ag | 1
 | Orange (SA) | 1.5 ml 1X SA | 1
 | Brown (SUB) | 1.5 ml Substrate | 1
 | Wash buffer in beaker or cup | ~50 ml Wash buffer | 1
 | Disposable plastic transfer pipet |  | 5
 | 12-well microplate strip |  | 2
 | p200 micropipet or 50 μl fixed-volume pipet and tips |  | 1 plus 10-20 tips
 | Paper towels or napkins |  | 20+
 | Permanent marker |  | 1
 | Waste cup |  | 1

## Slide 71: Resources

## Slide 72: Bio-Rad ELISA Kit
1662400EDU
48 students
3 different scenarios: track a disease outbreak; detect antigens (virus, pregnancy hormone, drug, or disease detection); or detect antibodies (past exposure to virus or other disease)
Includes antigen, antibodies, HRP enzyme substrate, 10x PBS, 10% Tween, disposable plastic transfer pipets, tubes, microplates,& curriculum.

## Slide 73
ELISA - Teacher Manual (All 3 Protocols)

## Slide 74
ELISA - Student Manual - Antibody Detection

## Slide 75: www.bio-rad.com/classroomresources

## Slide 76: A Complete Introduction to ELISA

## Slide 77: Biotechnology: A Laboratory Skills Course
This laboratory textbook is designed for a 1-year or 2-year biotechnology course, and blends science background and hands-on laboratory activities with real world.
The Teacher Edition includes 1 Student Edition (black) and 1 Teacher Supplement (green).
Teacher Edition: 17004717EDU
Student Edition: 12008528EDU
Teacher Supplement: 12008527EDU

## Slide 78
x 2
x 3
x 2
x 2
x 2
x 3